## 2360-190602
| Survey No | INIS-102419-501 |  | Item Surveyed |  | Curtain Wall Window Room 718
| Date | 2019-10-24 |  | Comments |  | 1-5 North Window, 1-6 Middle Window, 11-15 South Window
| Survey Tech | D. Love
| Count Room Tech | P. Ray |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2019-10-24 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model |  | 2350-1 |  | 2360/43-93 |  |  |  | 2929/43-10-1
| Level of Posting | RMA/CA |  |  | Instrument SN |  | 260157 |  | 227413/PR295918 |  |  |  | 190602/PR199159
Notes |  |  | Total Activity |  | Cal. Due Date |  | 9/19/20 |  | 2020-08-15 |  |  |  | 2020-06-05
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 21.12% |  | 75% |  | 34.6% |  | 39.1%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  |  |  | 0 |  | 130 |  | 36 |  | 2337
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1 |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1 |  | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1 |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | Lower left side - Sides LAW:0/505, Base LAW:0/1179, Background:0/164 | [5 empty] | 10.9 |  | 0 |  | 373 |  | 0 |  | 65
2 | Upper right side - Sides LAW:0/505, Base LAW:0/1179, Background:0/164 | [5 empty] | 11.8 |  | 1 |  | 881 |  | 0 |  | 227
3 | Upper left - Sides LAW:0/505, Base LAW:0/1179, Background:0/164 | [7 empty] | 0 |  | 349 |  | 1 |  | 77
4 | Right corner - Sides LAW:0/505, Base LAW:0/1179, Background:0/164 | [5 empty] | 11.9 |  | 0 |  | 843 |  | 0 |  | 40
5 | Window edge - Sides LAW:0/505, Base LAW:0/1179, Background:0/164 | [7 empty] | 0 |  | 1432 |  | 2 |  | 70
6 | Lower left side - Sides LAW: 1/363 Base LAW: 1/557 Background: 0/164 | [5 empty] | 10.1 |  | 2 |  | 215 |  | 0 |  | 55
7 | Mid right side - Sides LAW: 1/363 Base LAW: 1/557 Background: 0/164 | [5 empty] | 10.7 |  | 0 |  | 257 |  | 1 |  | 44
8 | Base (concrete) - Sides LAW: 1/363 Base LAW: 1/557 Background: 0/164 | [7 empty] | 0 |  | 296 |  | 1 |  | 39
9 | Base (metal) - Sides LAW: 1/363 Base LAW: 1/557 Background: 0/164 | [5 empty] | 8.2 |  | 0 |  | 178 |  | 0 |  | 49
10 | Window base - Sides LAW: 1/363 Base LAW: 1/557 Background: 0/164 | [7 empty] | 0 |  | 855 |  | 0 |  | 140
11 | Left side - Sides LAW: 0/180 Base LAW: 0/190 Background: 0/164 | [5 empty] | 10.5 |  | 0 |  | 327 |  | 2 |  | 42
12 | Right side - Sides LAW: 0/180 Base LAW: 0/190 Background: 0/164 | [5 empty] | 11.3 |  | 1 |  | 182 |  | 1 |  | 34
13 | Lower window - Sides LAW: 0/180 Base LAW: 0/190 Background: 0/164 | [7 empty] | 2 |  | 165 |  | 0 |  | 38
14 | Base - Sides LAW: 0/180 Base LAW: 0/190 Background: 0/164 | [5 empty] | 12.1 |  | 0 |  | 1179 |  | 2 |  | 158
15 | Window edge - Sides LAW: 0/180 Base LAW: 0/190 Background: 0/164 | [7 empty] | 1 |  | 206 |  | 2 |  | 40
Reviewed by:______________________ Date:_______________

## Map (2)
Survey No | INIS-102419-501
Date | 2019-10-24
Survey Tech | D. Love
Count Room Tech | P. Ray
Date Counted | 2019-10-24
Survey Type | Characterization
Level of Posting | RMA/CA
Comments

## Map (3)
Survey No | INIS-102419-501
Date | 2019-10-24
Survey Tech | D. Love
Count Room Tech | P. Ray
Date Counted | 2019-10-24
Survey Type | Characterization
Level of Posting | RMA/CA
Comments

## Map (4)
Survey No | INIS-102419-501
Date | 2019-10-24
Survey Tech | D. Love
Count Room Tech | P. Ray
Date Counted | 2019-10-24
Survey Type | Characterization
Level of Posting | RMA/CA
Comments

## Map (5)
Survey No | INIS-102419-501
Date | 2019-10-24
Survey Tech | D. Love
Count Room Tech | P. Ray
Date Counted | 2019-10-24
Survey Type | Characterization
Level of Posting | RMA/CA
Comments

## Map (6)
Survey No | INIS-102419-501
Date | 2019-10-24
Survey Tech | D. Love
Count Room Tech | P. Ray
Date Counted | 2019-10-24
Survey Type | Characterization
Level of Posting | RMA/CA
Comments

## Map (7)
Survey No | INIS-102419-501
Date | 2019-10-24
Survey Tech | D. Love
Count Room Tech | P. Ray
Date Counted | 2019-10-24
Survey Type | Characterization
Level of Posting | RMA/CA
Comments