## Scan and Data
Survey Number |  | INIS-061620-1794 |  |  | Item Surveyed |  | Outside decontamination on concrete in the Northeast RCA
Date Surveyed |  | 2020-06-16 |  |  | Comments
Survey Tech |  | L. Cuneo
Count Room Tech |  | J. Cuevas |  |  | Instrumentation
Date Counted |  | 2020-06-16 |  |  | Gamma | [5 empty] | Total Activity | [5 empty] | Removable Activity
Survey Type |  | Pre/Post Decontamination |  |  | Dose | CPM |  |  |  |  | Alpha |  |  | Beta-Gamma |  |  | Alpha |  |  | Beta-Gamma
Level Of Posting |  | RCA |  |  |  |  | Instrument Model |  |  |  | 2360/43-93 |  |  | 2360/43-93 |  |  | ASC-DP
Building Material Background - cpm |  |  | Alpha | Beta |  |  | Instrument SN |  |  |  | 227404/PR389087 | [5 empty] | 0920930
Brick |  |  | 3 | 407 |  |  | Cal Due Date |  |  |  | 2021-02-20 | [5 empty] | 2021-02-18
Concrete |  |  | 2 | 228 | N/A |  | Instrument Efficiency |  |  |  | 21.83% |  |  | 36.02% |  |  | 22.52% |  |  | 37.57%
Linoleum |  |  | 1 | 187 | N/A |  | Probe Correction Factor |  |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1
Drywall |  |  | 1 | 162 |  |  | Background Count Time (min) |  |  |  | 1 |  |  | 1 |  |  | 60 |  |  | 60
Metal |  |  | 1 | 160 |  |  | Sample Count Time (min) |  |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1
Ceiling Tile |  |  | 2 | 293 |  |  | Instrument Background |  |  |  | 0 |  |  | 219 |  |  | 9 |  |  | 1687
Wood |  |  | 1 | 162 | N/A |  | MDC |  |  |  | See Below
Asphalt |  |  | N/A |  | Gamma |  | Total Activity | [9 empty] | Removable Activity
Note | *MDC & Net Activity displayed in dpm/100cm² |  |  |  | Dose | CPM | Alpha |  |  |  |  | Beta-Gamma |  |  |  |  | Alpha |  |  | Beta-Gamma
No | Description/Location |  |  |  | Gross µR/hr | Gross cpm | Gross Counts | Bldg Material Bkg | MDC* | Net cpm | Net Activity* | Gross Counts | Bldg Material Bkg | MDC* | Net cpm | Net Activity* | Gross Counts | Net cpm | Net Activity* | Gross Counts | Net cpm | Net Activity*
1 | Pre concrete decontamination | [5 empty] | 1 | 2 |  |  |  | 464 | 228 |  |  |  | 0 |  |  | 24
2 | Post concrete decontamination | [5 empty] | 1 | 2 |  |  |  | 327 | 228 |  |  |  | 1 |  |  | 19
3 | Pre concrete decontamination | [5 empty] | 1 | 2 |  |  |  | 1079 | 228 |  |  |  | 0 |  |  | 24
4 | Post concrete decontamination | [5 empty] | 3 | 2 |  |  |  | 354 | 228 |  |  |  | 0 |  |  | 25
5 | Pre concrete decontamination | [5 empty] | 1 | 2 |  |  |  | 2253 | 228 |  |  |  | 0 |  |  | 39
6 | Post concrete decontamination | [5 empty] | 0 | 2 |  |  |  | 349 | 228 |  |  |  | 0 |  |  | 41
7 | Pre concrete decontamination | [5 empty] | 1 | 2 |  |  |  | 368 | 228 |  |  |  | 0 |  |  | 25
8 | Post concrete decontamination | [5 empty] | 1 | 2 |  |  |  | 278 | 228 |  |  |  | 0 |  |  | 33
9 | Pre concrete decontamination | [5 empty] | 0 | 2 |  |  |  | 483 | 228 |  |  |  | 0 |  |  | 31
10 | Post concrete decontamination | [5 empty] | 0 | 2 |  |  |  | 300 | 228 |  |  |  | 1 |  |  | 35
11 | Pre concrete decontamination | [5 empty] | 0 | 2 |  |  |  | 345 | 228 |  |  |  | 1 |  |  | 23
12 | Post concrete decontamination | [5 empty] | 2 | 2 |  |  |  | 302 | 228 |  |  |  | 0 |  |  | 29
13 | Pre concrete decontamination | [5 empty] | 0 | 2 |  |  |  | 375 | 228 |  |  |  | 0 |  |  | 34
14 | Post concrete decontamination | [5 empty] | 1 | 2 |  |  |  | 341 | 228 |  |  |  | 0 |  |  | 30
15 | Pre concrete decontamination | [5 empty] | 2 | 2 |  |  |  | 323 | 228 |  |  |  | 0 |  |  | 37
16 | Post concrete decontamination | [5 empty] | 1 | 2 |  |  |  | 352 | 228 |  |  |  | 0 |  |  | 22
17 | Pre concrete decontamination | [5 empty] | 1 | 2 |  |  |  | 375 | 228 |  |  |  | 0 |  |  | 33
18 | Post concrete decontamination | [5 empty] | 1 | 2 |  |  |  | 326 | 228 |  |  |  | 0 |  |  | 26
19 | Pre concrete decontamination | [5 empty] | 2 | 2 |  |  |  | 327 | 228 |  |  |  | 0 |  |  | 36
20 | Post concrete decontamination | [5 empty] | 1 | 2 |  |  |  | 339 | 228 |  |  |  | 0 |  |  | 23

## Scan and Data (2)
Survey Number |  | INIS-061620-1794 |  |  | Item Surveyed |  | Outside decontamination on concrete in the Northeast RCA
Date Surveyed |  | 2020-06-16 |  |  | Comments
Survey Tech |  | L. Cuneo
Count Room Tech |  | J. Cuevas |  |  | Instrumentation
Date Counted |  | 2020-06-16 |  |  | Gamma | [5 empty] | Total Activity | [5 empty] | Removable Activity
Survey Type |  | Pre/Post Decontamination |  |  | Dose | CPM |  |  |  |  | Alpha |  |  | Beta-Gamma |  |  | Alpha |  |  | Beta-Gamma
Level Of Posting |  | RCA |  |  |  |  | Instrument Model |  |  |  | 2360/43-93 |  |  | 2360/43-93 |  |  | ASC-DP
Building Material Background - cpm |  |  | Alpha | Beta |  |  | Instrument SN |  |  |  | 227404/PR389087 | [5 empty] | 0920930
Brick |  |  | 3 | 407 |  |  | Cal Due Date |  |  |  | 2021-02-20 | [5 empty] | 2021-02-18
Concrete |  |  | 2 | 228 | N/A |  | Instrument Efficiency |  |  |  | 21.83% |  |  | 36.02% |  |  | 22.52% |  |  | 37.57%
Linoleum |  |  | 1 | 187 | N/A |  | Probe Correction Factor |  |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1
Drywall |  |  | 1 | 162 |  |  | Background Count Time (min) |  |  |  | 1 |  |  | 1 |  |  | 60 |  |  | 60
Metal |  |  | 1 | 160 |  |  | Sample Count Time (min) |  |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1
Ceiling Tile |  |  | 2 | 293 |  |  | Instrument Background |  |  |  | 0 |  |  | 219 |  |  | 9 |  |  | 1687
Wood |  |  | 1 | 162 | N/A |  | MDC |  |  |  | See Below
Asphalt |  |  | N/A |  | Gamma |  | Total Activity | [9 empty] | Removable Activity
Note | *MDC & Net Activity displayed in dpm/100cm² |  |  |  | Dose | CPM | Alpha |  |  |  |  | Beta-Gamma |  |  |  |  | Alpha |  |  | Beta-Gamma
No | Description/Location |  |  |  | Gross µR/hr | Gross cpm | Gross Counts | Bldg Material Bkg | MDC* | Net cpm | Net Activity* | Gross Counts | Bldg Material Bkg | MDC* | Net cpm | Net Activity* | Gross Counts | Net cpm | Net Activity* | Gross Counts | Net cpm | Net Activity*
21 | Pre concrete decontamination | [5 empty] | 0 | 2 |  |  |  | 339 | 228 |  |  |  | 0 |  |  | 28
22 | Post concrete decontamination | [5 empty] | 1 | 2 |  |  |  | 325 | 228 |  |  |  | 0 |  |  | 23
23 | Pre concrete decontamination | [5 empty] | 0 | 2 |  |  |  | 679 | 228 |  |  |  | 0 |  |  | 29
24 | Post concrete decontamination | [5 empty] | 0 | 2 |  |  |  | 330 | 228 |  |  |  | 0 |  |  | 26
25 | Pre concrete decontamination | [5 empty] | 0 | 2 |  |  |  | 391 | 228 |  |  |  | 1 |  |  | 28
26 | Post concrete decontamination | [5 empty] | 0 | 2 |  |  |  | 324 | 228 |  |  |  | 0 |  |  | 28
27 | Pre concrete decontamination | [5 empty] | 1 | 2 |  |  |  | 360 | 228 |  |  |  | 0 |  |  | 30
28 | Post concrete decontamination | [5 empty] | 4 | 2 |  |  |  | 331 | 228 |  |  |  | 0 |  |  | 20
29 | Pre concrete decontamination | [5 empty] | 0 | 2 |  |  |  | 413 | 228 |  |  |  | 0 |  |  | 30
30 | Post concrete decontamination | [5 empty] | 0 | 2 |  |  |  | 347 | 228 |  |  |  | 1 |  |  | 20

## Map
Survey Number | INIS-061620-1794
Date Surveyed | 2020-06-16
Survey Tech | L. Cuneo
Count Room Tech | J. Cuevas
Date Counted | 2020-06-16
Survey Type | Pre/Post Decontamination
Level Of Posting | RCA