## 2360-190602
| Survey No | INIS-082019-198 |  | Item Surveyed |  | 6th Floor Elevator Shatf
| Date | 2019-08-20 |  | Comments
| Survey Tech | S. Baine/H. North
| Count Room Tech | P. Ray |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2019-08-20 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model | 3 |  |  | 2360/43-93 |  |  |  | 2929/43-10-1
| Level of Posting | CA |  |  | Instrument SN | 187367 |  |  |  |  | 170573/PR295918 |  | 143878/PR147628
Notes |  |  | Total Activity |  | Cal. Due Date | 2020-06-07 |  |  | 2019-09-18 |  | 2019-09-18 |  | 2020-06-12
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 21.73% |  | 53% |  | 37.37% |  | 39.35%
Tb = Background count time |  |  | Removable Activity |  | Background Counts | 45 |  |  | 0 |  | 180 |  | 10 |  | 2544
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1 |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1 |  | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1 |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | South wall sheetrock |  |  |  |  | 81 | [6 empty] | 0 |  | 48
2 | South wall guide bracket |  |  |  |  | 79 | [6 empty] | 0 |  | 106
3 | North wall |  |  |  |  | 58 | [6 empty] | 0 |  | 47
4 | North wall guide bracket |  |  |  |  | 510 | [6 empty] | 0 |  | 536 |  | 170573/PR295917
5 | North west wall counter weight plates |  |  |  |  | 304 | [6 empty] | 1 |  | 47
6 | Cable |  |  |  |  | 471 | [6 empty] | 0 |  | 50
7 | West wall |  |  |  |  | 34 | [6 empty] | 0 |  | 39
8 | South wall (LAW) | [7 empty] | 2 |  | 261
9 | South wall guide bracket (LAW) | [7 empty] | 1 |  | 299
10 | North wall (LAW) | [7 empty] | 0 |  | 1013
11 | North wall guide bracket (LAW) | [7 empty] | 2 |  | 1466
12 | Cable (LAW) | [7 empty] | 1 |  | 265
13 | West cable (LAW) | [7 empty] | 3 |  | 292

## Map
Survey No
Date
Survey Tech
Count Room Tech
Date Counted
Survey Type
Level of Posting
Comments