## 2360-190602
| Survey No | INIS-110119-562 |  | Item Surveyed |  | GE 6th Floor
| Date | 2019-11-01 |  | Comments |  | Background: 1: 3074 cpm, 2-6: 2690 cpm, 7-12: 3456 cpm
| Survey Tech | J. Walther/D. Dodge
| Count Room Tech | P. Ray |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2019-11-01 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model | 2221 |  |  | 2360/43-93 |  |  |  | 2929/43-10-1
| Level of Posting | None |  |  | Instrument SN | 190201 |  |  | 234860/PR289402 |  |  |  | 190602/PR199159
Notes |  |  | Total Activity |  | Cal. Due Date | 2020-06-14 |  |  | 2020-06-18 |  |  |  | 2020-06-05
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 20.93% |  | 50% |  | 34.6% |  | 39.1%
Tb = Background count time |  |  | Removable Activity |  | Background Counts | 3074 |  |  | 1 |  | 225 |  | 30 |  | 2274
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1 |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1 |  | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1 |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | Exhaust Room 620C |  |  |  |  | 3254 |  |  | 3 |  | 245 |  | 1 |  | 39
2 | Exhaust Hallway Room 621 |  |  |  |  | 3109 |  |  | 20 |  | 656 |  | 1 |  | 61
3 | Exhaust Room 621 |  |  |  |  | 3131 |  |  | 1 |  | 349 |  | 1 |  | 48
4 | Exhaust Room 627 |  |  |  |  | 3183 |  |  | 2 |  | 227 |  | 0 |  | 44
5 | Exhaust Hallway Room 627 |  |  |  |  | 2866 |  |  | 18 |  | 589 |  | 1 |  | 66
6 | Exhaust Hallway Room 627 |  |  |  |  | 3244 |  |  | 22 |  | 814 |  | 2 |  | 75
7 | Exhaust Room 606C |  |  |  |  | 3626 |  |  | 2 |  | 136 |  | 1 |  | 36
8 | Exhaust Room 606C |  |  |  |  | 3630 |  |  | 0 |  | 260 |  | 0 |  | 44
9 | Exhaust Room 606B |  |  |  |  | 3580 |  |  | 2 |  | 232 |  | 0 |  | 31
10 | Exhaust Room 606B |  |  |  |  | 3520 |  |  | 2 |  | 237 |  | 2 |  | 53
11 | Exhaust Room 606A |  |  |  |  | 3508 |  |  | 2 |  | 204 |  | 1 |  | 32
12 | Exhaust Room 608 |  |  |  |  | 3604 |  |  | 0 |  | 230 |  | 0 |  | 39

## Map
Survey No | INIS-110119-562
Date | 2019-11-01
Survey Tech | J. Walther/D. Dodge
Count Room Tech | P. Ray
Date Counted | 2019-11-01
Survey Type | Characterization
Level of Posting | None
Comments