## 2360-190602
| Survey No | INIS-110919-635 |  | Item Surveyed |  | C. Van ATG-026
| Date | 2019-11-09 |  | Comments
| Survey Tech | D. Beckstrom
| Count Room Tech | P. Ray |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2019-11-09 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Incoming |  |  | Instrument Model |  |  |  | 2360/43-93 |  |  |  | 2929/43-10-1
| Level of Posting | RMA |  |  | Instrument SN | [7 empty] | 190602/PR199159
Notes |  |  | Total Activity |  | Cal. Due Date |  |  |  | 2020-09-12 |  |  |  | 2020-06-05
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 22.18% |  | 81% |  | 34.6% |  | 39.1%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  |  |  | 0 |  | 255 |  | 47 |  | 2462
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1 |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1 |  | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1 |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | Inside floor |  |  | See pictures | [8 empty] | 3 |  | 33
2 | Inside floor |  |  | See pictures | [8 empty] | 0 |  | 42
3 | Inside back wall |  |  | See pictures | [8 empty] | 1 |  | 36
4 | Inside back wall |  |  | See pictures | [8 empty] | 1 |  | 45
5 | Inside ceiling |  |  | See pictures | [8 empty] | 0 |  | 51
6 | Inside ceiling |  |  | See pictures | [8 empty] | 0 |  | 47 |  | 227431/PR289429
7 | inside North wall |  |  | See pictures | [8 empty] | 1 |  | 49
8 | inside North wall |  |  | See pictures | [8 empty] | 1 |  | 41
9 | Inside South wall |  |  | See pictures | [8 empty] | 1 |  | 40
10 | Inside South wall |  |  | See pictures | [8 empty] | 0 |  | 46
11 | Outside back |  |  | See pictures | [8 empty] | 1 |  | 42
12 | Outside South wall |  |  | See pictures | [8 empty] | 0 |  | 56
13 | Outside North wall |  |  | See pictures | [8 empty] | 0 |  | 35
14 | Outside door |  |  | See pictures | [8 empty] | 3 |  | 40
15 | Outside door |  |  | See pictures | [8 empty] | 1 |  | 37

## Map
Survey No | INIS-110919-635
Date | 2019-11-09
Survey Tech | D. Beckstrom
Count Room Tech | P. Ray
Date Counted | 2019-11-09
Survey Type | Incoming
Level of Posting | RMA
Comments

## Map (2)
Survey No | INIS-110919-635
Date | 2019-11-09
Survey Tech | D. Beckstrom
Count Room Tech | P. Ray
Date Counted | 2019-11-09
Survey Type | Incoming
Level of Posting | RMA
Comments

## Map (3)
Survey No | INIS-110919-635
Date | 2019-11-09
Survey Tech | D. Beckstrom
Count Room Tech | P. Ray
Date Counted | 2019-11-09
Survey Type | Incoming
Level of Posting | RMA
Comments

## Map (4)
Survey No | INIS-110919-635
Date | 2019-11-09
Survey Tech | D. Beckstrom
Count Room Tech | P. Ray
Date Counted | 2019-11-09
Survey Type | Incoming
Level of Posting | RMA
Comments

## Map (5)
Survey No | INIS-110919-635
Date | 2019-11-09
Survey Tech | D. Beckstrom
Count Room Tech | P. Ray
Date Counted | 2019-11-09
Survey Type | Incoming
Level of Posting | RMA
Comments

## Map (6)
Survey No | INIS-110919-635
Date | 2019-11-09
Survey Tech | D. Beckstrom
Count Room Tech | P. Ray
Date Counted | 2019-11-09
Survey Type | Incoming
Level of Posting | RMA
Comments