## 2360-190602
| Survey No | INIS-110919-636 |  | Item Surveyed |  | Compactor Bin In Room 220
| Date | 2019-11-08 |  | Comments |  | All smear locations taken with a one minute count.
| Survey Tech | J.Cuevas
| Count Room Tech |  |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Total Activity
| Date Counted |  |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model |  |  |  | 2360/43-93 |  |  |  | 2360/43-93
| Level of Posting | CA/RMA |  |  | Instrument SN |  |  |  | 170573/PR295917 |  |  |  | 259730/PR374384
Notes |  |  | Total Activity |  | Cal. Due Date |  |  |  | 2020-10-18 |  |  |  | 2020-09-13
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 21.39% |  | 53% |  | 20.54% |  | 35.78%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  |  |  | 1 |  | 856 |  | 0 |  | 220
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1 |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1 |  | 1 |  | 1
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1 |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | Front gate. See picture for location | [7 empty] | 0 |  | 11110 |  | 1 |  | 723
2 | West end. See picture for location | [7 empty] | 5 |  | 4664 |  | 1 |  | 260
3 | West end. See picture for location | [7 empty] | 1 |  | 4528 |  | 0 |  | 241
4 | West end. See picture for location | [7 empty] | 1 |  | 818 |  | 1 |  | 214
5 | West end electrical box. See picture for location | [7 empty] | 1 |  | 1080 |  | 0 |  | 414
6 | North end leg. See picture for location | [7 empty] | 1 |  | 1929 |  | 1 |  | 377
7 | North end. See picture for location | [7 empty] | 1 |  | 3017 |  | 1 |  | 256
8 | North end. See picture for location | [7 empty] | 1 |  | 863 |  | 1 |  | 245
9 | North end leg. See picture for location | [7 empty] | 1 |  | 1015 |  | 0 |  | 242
10 | North end ratchet threads . See picture for location | [7 empty] | 3 |  | 11091 |  | 1 |  | 228
11 | North end. See picture for location | [7 empty] | 4 |  | 1108 |  | 0 |  | 221
12 | South end. See picture for location | [7 empty] | 1 |  | 5270 |  | 0 |  | 456
13 | South end. See picture for location | [7 empty] | 1 |  | 7108 |  | 0 |  | 279
14 | South end ratchet threads . See picture for location | [7 empty] | 3 |  | 6936 |  | 0 |  | 227
15 | South end. See picture for location | [7 empty] | 2 |  | 647 |  | 2 |  | 227
17 | South end motor. See picture for location | [7 empty] | 2 |  | 3481 |  | 1 |  | 235
18 | Inside bin south wall. See picture for location | [7 empty] | 1 |  | 31074 |  | 0 |  | 779
19 | Inside bin east wall. See picture for location | [7 empty] | 4 |  | 6314 |  | 0 |  | 400
20 | Inside bin north wall. See picture for location | [7 empty] | 1 |  | 10468 |  | 0 |  | 276
21 | Inside bottom. See picture for location | [7 empty] | 0 |  | 36675 |  | 0 |  | 1

## 2360-190602
| Survey No | INIS-110919-636 |  | Item Surveyed |  | Compactor Bin In Room 220
| Date | 2019-11-08 |  | Comments |  | All smear locations taken with a one minute count.
| Survey Tech | J.Cuevas
| Count Room Tech |  |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted |  |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model |  |  |  | 2360/43-93 |  |  |  | 2360/43-93
| Level of Posting | CA/RMA |  |  | Instrument SN |  |  |  | 170573/PR295917 |  |  |  | 259730/PR374384
Notes |  |  | Total Activity |  | Cal. Due Date |  |  |  | 2020-10-18 |  |  |  | 2020-09-13
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 21.39% |  | 53% |  | 20.54% |  | 35.78%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  |  |  | 1 |  | 856 |  | 0 |  | 220
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1 |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1 |  | 1 |  | 1
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1 |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
22 | Inside bottom. See picture for location | [7 empty] | 1 |  | 33207 |  | 1 |  | 532
23 | Inside bottom. See picture for location | [7 empty] | 1 |  | 32996 |  | 0 |  | 375
24 | Inside bin west wall. See picture for location | [7 empty] | 0 |  | 26171 |  | 0 |  | 852

## Map
Survey No
Date | 2019-11-08
Survey Tech | J.Cuevas
Count Room Tech
Date Counted
Survey Type | Characterization
Level of Posting | CA/RMA
Comments

## Map (2)
Survey No
Date | 2019-11-08
Survey Tech | J.Cuevas
Count Room Tech
Date Counted
Survey Type | Characterization
Level of Posting | CA/RMA
Comments

## Map (3)
Survey No
Date | 2019-11-08
Survey Tech | J.Cuevas
Count Room Tech
Date Counted
Survey Type | Characterization
Level of Posting | CA/RMA
Comments

## Map (4)
Survey No
Date | 2019-11-08
Survey Tech | J.Cuevas
Count Room Tech
Date Counted
Survey Type | Characterization
Level of Posting | CA/RMA
Comments