## Sheet1
File Name | Sheet Name | Instrument S/N | Cal DueDate | Old Efficiency | New Efficiency
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\Characterization 011020-950.xlsx | <Worksheet "Survey Sheet (2)"> | 227430/PR389072 | 2020-12-18 | 0.79 | 0.79
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\Characterization 011020-950.xlsx | <Worksheet "2360-190602"> | 227430/PR389072 | 2020-12-18 | 0.79 | 0.79
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\Characterization 012320-1045.xlsx | <Worksheet "Scan and Data"> | 268475/PR289416 | 2020-12-18 | 0.69 | 0.69
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\Characterization 081919-196.xlsx | <Worksheet "2360-190602"> | 170550/PR312880 | 2020-08-13 | 0.9 | 0.9
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\Characterization 082019-198.xlsx | <Worksheet "2360-190602"> |  | 2019-09-18 | 0.53
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\Characterization 102819-524.xlsx | <Worksheet "2360-190602"> | 227413/PR295918 | 2020-08-15 | 0.75 | 0.75
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\Characterization 103019-545.xlsx | <Worksheet "2360-190602"> | 170573/PR295917 | 2020-10-18 | 0.53 | 0.53
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\Characterization 110119-562.xlsx | <Worksheet "2360-190602"> | 234860/PR289402 | 2020-06-18 | 0.5 | 0.5
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\Characterization 110819-620.xlsx | <Worksheet "2360-190602"> | 227431/PR289429 | 2020-08-12 | 0.56 | 0.56
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\Characterization 110919-635.xlsx | <Worksheet "2360-190602 "> |  | 2020-09-12 | 0.81
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\Characterization 110919-636.xlsx | <Worksheet "2360-190602 "> | 170573/PR295917 | 2020-10-18 | 0.53 | 0.53
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\Characterization 110919-636.xlsx | <Worksheet "2360-190602"> | 170573/PR295917 | 2020-10-18 | 0.53 | 0.53
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-012020-1020.xlsx | <Worksheet "Survey"> | 251035/PR293951 | 2020-12-18 | 0.3375
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-061620-1794.xlsx | <Worksheet "Scan and Data"> | 227404/PR389087 | 2021-02-20 | 0.74 | 0.74
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-061620-1794.xlsx | <Worksheet "Scan and Data (2)"> | 227404/PR389087 | 2021-02-20 | 0.74 | 0.74
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-070920-1966.xlsx | <Worksheet "Scan and Data"> | 268409/PR295781 | 2021-05-18 | 0.74 | 0.74
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-071020-1968.xlsx | <Worksheet "Sub-Basement"> | 170573/PR295917 | 2021-01-23 | 0.53 | 0.53
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-071020-1968.xlsx | <Worksheet "Catwalk"> | 170573/PR295917 | 2021-01-23 | 0.53 | 0.53
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-071020-1968.xlsx | <Worksheet "Basement"> | 170573/PR295917 | 2021-01-23 | 0.53 | 0.53
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-071020-1968.xlsx | <Worksheet "1st Floor"> | 170573/PR295917 | 2021-01-23 | 0.53 | 0.53
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-071020-1968.xlsx | <Worksheet "2nd Floor"> | 170573/PR295917 | 2021-01-23 | 0.53 | 0.53
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-071020-1968.xlsx | <Worksheet "3rd Floor"> | 170573/PR295917 | 2021-01-23 | 0.53 | 0.53
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-071020-1968.xlsx | <Worksheet "4th Floor"> | 170573/PR295917 | 2021-01-23 | 0.53 | 0.53
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-071020-1968.xlsx | <Worksheet "5th Floor"> | 170573/PR295917 | 2021-01-23 | 0.53 | 0.53
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-071020-1968.xlsx | <Worksheet "6th Floor"> | 170573/PR295917 | 2021-01-23 | 0.53 | 0.53
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-071020-1968.xlsx | <Worksheet "7th Floor"> | 170573/PR295917 | 2021-01-23 | 0.53 | 0.53
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-071020-1968.xlsx | <Worksheet "8th Floor"> | 170573/PR295917 | 2021-01-23 | 0.53 | 0.53
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-071020-1968.xlsx | <Worksheet "9th Floor"> | 170573/PR295917 | 2021-01-23 | 0.53 | 0.53
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001"> | 184905/PR289400 | 2020-12-18 | 0.8 | 0.8
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (2)"> | 184905/PR289400 | 2020-12-18 | 0.8 | 0.8
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (3)"> | 287606/PR389075 | 2020-12-02 | 0.67 | 0.67
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (4)"> | 164689/PR389073 | 2020-12-02 | 0.88 | 0.88
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (5)"> | 184905/PR289400 | 2020-12-18 | 0.8 | 0.8
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (6)"> | 251035/PR293951 | 2020-12-18 | 0.3375
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (7)"> | 184905/PR289400 | 2020-12-18 | 0.8 | 0.8
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (8)"> | 287606/PR389075 | 2020-12-02 | 0.67 | 0.67
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (9)"> | 164689/PR389073 | 2020-12-02 | 0.88 | 0.88
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (10)"> | 184905/PR289400 | 2020-12-18 | 0.8 | 0.8
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (11)"> | 184905/PR289400 | 2020-12-18 | 0.8 | 0.8
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (12)"> | 184905/PR289400 | 2020-12-18 | 0.8 | 0.8
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (13)"> | 164689/PR389073 | 2020-12-02 | 0.88 | 0.88
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (14)"> | 227401/PR312926 | 2020-12-18 | 0.51 | 0.51
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (15)"> | 251035/PR293951 | 2020-12-18 | 0.3375
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (16)"> | 251035/PR293951 | 2020-12-18 | 0.3375
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (17)"> | 227401/PR312926 | 2020-12-18 | 0.51 | 0.51
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (18)"> | 184905/PR289400 | 2020-12-18 | 0.8 | 0.8
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (21)"> | 268475/PR289416 | 2020-12-18 | 0.69 | 0.69
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (22)"> | 248145/PR389059 | 2020-11-18 | 0.8 | 0.8
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (23)"> | 248145/PR389059 | 2020-11-18 | 0.8 | 0.8
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (24)"> | 227401/PR312926 | 2020-12-18 | 0.51 | 0.51
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (25)"> | 227401/PR312926 | 2020-12-18 | 0.51 | 0.51
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (26)"> | 287606/PR389075 | 2020-12-02 | 0.67 | 0.67
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (28)"> | 287606/PR389075 | 2020-12-02 | 0.67 | 0.67
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (29)"> | 164689/PR389073 | 2020-12-02 | 0.88 | 0.88
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (30)"> | 268475/PR289416 | 2020-12-18 | 0.69 | 0.69
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (31)"> | 251035/PR293951 | 2020-12-18 | 0.3375
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (32)"> | 259730/PR374384 | 2020-09-13 | 0.62 | 0.62
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (33)"> | 184905/PR289400 | 2020-12-18 | 0.8 | 0.8
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (34)"> | 234860/PR289402 | 2020-06-18 | 0.5 | 0.5
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (35)"> | 164689/PR389073 | 2020-12-02 | 0.88 | 0.88
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (36)"> | 259730/PR374384 | 2020-09-13 | 0.62 | 0.62
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-010820-001 - Rev 4.xlsx | <Worksheet "FSS-001 (37)"> | 227401/PR312929 | 2020-12-18 | 0.77 | 0.77
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-052820-006 (HRT 11-13).xlsx | <Worksheet "Systematic SDS"> | 259730/PR374384 | 2021-03-11 | 0.62 | 0.62
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-052820-006 (HRT 11-13).xlsx | <Worksheet "Judgmental SDS"> | 248145/PR389059 | 2020-11-18 | 0.8 | 0.8
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-052820-006 (HRT 11-13).xlsx | <Worksheet "Judgmental SDS (2)"> | 259730/PR374384 | 2021-03-11 | 0.62 | 0.62
C:/Users/paul.jones/Documents/GitHub/ModiffyEfficiency/ModiffyEfficiency/surveys\INIS-FSS-052820-006 (HRT 11-13).xlsx | <Worksheet "QC"> | 227400/PR299616 | 2021-03-09 | 0.74 | 0.74