## 2360-190602
| Survey No | INIS-010220-876 |  | Item Surveyed |  | Trailer #483169 License Plate 4LT2080
| Date | 2020-01-02 |  | Comments
| Survey Tech | J. Walther
| Count Room Tech | P. Ray |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2020-01-02 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Shipment |  |  | Instrument Model |  | 19 | [5 empty] | 2929/43-10-1
| Level of Posting | None |  |  | Instrument SN |  | 221547 | [5 empty] | 143878/PR147628
Notes |  |  | Total Activity |  | Cal. Due Date |  | 8/14/20 | [5 empty] | 2020-11-08
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency | [7 empty] | 37.87% |  | 42.14%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  | 10 | [5 empty] | 9 |  | 2689
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF | [7 empty] | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb | [7 empty] | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts | [7 empty] | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | Rear Conex SC008 on contact | [5 empty] | 150 | [5 empty] | 0 |  | 32
2 | South side conex on contact | [5 empty] | 400 | [5 empty] | 2 |  | 41
3 | West side conex on contact | [5 empty] | 20 | [5 empty] | 0 |  | 41
4 | Bailer South side on contact | [5 empty] | 10 | [5 empty] | 0 |  | 50
5 | Bailer West side on contact | [5 empty] | 10 | [5 empty] | 1 |  | 40
6 | Box 2019546 South side on contact | [5 empty] | 10 | [5 empty] | 0 |  | 39
7 | Box 2019543 West side on contact | [5 empty] | 10 | [5 empty] | 0 |  | 44
8 | Box 2019545 North side on contact | [5 empty] | 10 | [5 empty] | 0 |  | 34
9 | Box 2019542 North side on contact | [5 empty] | 10 | [5 empty] | 0 |  | 46
10 | Bailer North side on contact | [5 empty] | 40 | [5 empty] | 0 |  | 35
11 | Conex North side on contact | [5 empty] | 400 | [5 empty] | 0 |  | 42
12 | Box 1009-PNW rear (West side) on contact | [5 empty] | 40 | [5 empty] | 0 |  | 61

## 2360-190602 (2)
| Survey No | INIS-010220-876 |  | Item Surveyed |  | Trailer #483169 License Plate 4LT2080
| Date | 2020-01-02 |  | Comments
| Survey Tech | J. Walther
| Count Room Tech | P. Ray |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2020-01-02 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Shipment |  |  | Instrument Model |  | 19 | [5 empty] | 2929/43-10-1
| Level of Posting | None |  |  | Instrument SN |  | 221547 | [5 empty] | 143878/PR147628
Notes |  |  | Total Activity |  | Cal. Due Date |  | 8/14/20 | [5 empty] | 2020-11-08
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency | [7 empty] | 37.87% |  | 42.14%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  | 10 | [5 empty] | 9 |  | 2689
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF | [7 empty] | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb | [7 empty] | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts | [7 empty] | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | Rear Conex SC008 at 1 meter | [5 empty] | 80
2 | South side conex at 1 meter | [5 empty] | 180
3 | West side conex at 1 meter | [5 empty] | 10
4 | Bailer South side at 1 meter | [5 empty] | 10
5 | Bailer West side at 1 meter | [5 empty] | 10
6 | Box 2019546 South side at 1 meter | [5 empty] | 10
7 | Box 2019543 West side at 1 meter | [5 empty] | 10
8 | Box 2019545 North side at 1 meter | [5 empty] | 10
9 | Box 2019542 North side at 1 meter | [5 empty] | 10
10 | Bailer North side at 1 meter | [5 empty] | 20
11 | Conex North side at 1 meter | [5 empty] | 180
12 | Box 1009-PNW rear (West side) at 1 meter | [5 empty] | 10

## Map
Survey No
Date
Survey Tech
Count Room Tech
Date Counted
Survey Type
Level of Posting
Comments