## 2360-190602
| Survey No | INIS-010320-884 |  | Item Surveyed |  | River Technologies Vacuum #3369 (#2)
| Date | 2020-01-02 |  | Comments |  | Vacuum surveyed post decon/grind
| Survey Tech | D. Dodge
| Count Room Tech | P. Ray |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2020-01-03 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model |  | 2350 | [5 empty] | 2929/43-10-1
| Level of Posting | RCA/CA |  |  | Instrument SN |  | 260157 | [5 empty] | 143878/PR147628
Notes |  |  | Total Activity |  | Cal. Due Date |  | 9/19/20 | [5 empty] | 2020-11-08
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency | [7 empty] | 37.87% |  | 42.14%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  | 12 | [5 empty] | 18 |  | 2841
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF | [7 empty] | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb | [7 empty] | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts | [7 empty] | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | Hepa exhaust | [5 empty] | 12 | [5 empty] | 1 |  | 44
2 | Hepa exhaust | [5 empty] | 12 | [5 empty] | 0 |  | 33
3 | Side | [5 empty] | 12 | [5 empty] | 1 |  | 33
4 | Wheels | [5 empty] | 12 | [5 empty] | 0 |  | 34

## Map
Survey No | INIS-010320-884
Date | 2020-01-02
Survey Tech | D. Dodge
Count Room Tech | P. Ray
Date Counted | 2020-01-03
Survey Type | Characterization
Level of Posting | RCA/CA
Comments