## 2360-190602
| Survey No | INIS-010420-897 |  | Item Surveyed |  | Sealand container #SC042
| Date | 2020-01-04 |  | Comments |  | 15 smear inside (see map). LAW performed inside and out of container, no elevated activity identified.
| Survey Tech | M. Pries
| Count Room Tech | P. Ray |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2020-01-04 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Incoming |  |  | Instrument Model |  |  |  | 2360/43-93 |  |  |  | 2929/43-10-1
| Level of Posting | none |  |  | Instrument SN |  |  |  | 268475/PR289416 |  |  |  | 190602/PR199159
Notes |  |  | Total Activity |  | Cal. Due Date |  |  |  | 2020-12-18 |  |  |  | 2020-06-05
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 22.56% |  | 34.45% |  | 34.6% |  | 39.1%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  |  |  | 0 |  | 164 |  | 39 |  | 2543
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1 |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1 |  | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1 |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | See map | [11 empty] | 0 |  | 27
2 | See map | [11 empty] | 2 |  | 49
3 | See map | [11 empty] | 0 |  | 50
4 | See map | [11 empty] | 1 |  | 44
5 | See map | [11 empty] | 1 |  | 36
6 | See map | [11 empty] | 0 |  | 46
7 | See map | [11 empty] | 1 |  | 38
8 | See map | [11 empty] | 1 |  | 52
9 | See map | [11 empty] | 1 |  | 48
10 | See map | [11 empty] | 0 |  | 52
11 | See map | [11 empty] | 0 |  | 40
12 | See map | [11 empty] | 0 |  | 54
13 | See map | [11 empty] | 0 |  | 38
14 | See map | [11 empty] | 0 |  | 42
15 | See map | [11 empty] | 0 |  | 57

## Map
Survey No | INIS-010420-897
Date | 2020-01-04
Survey Tech | M. Pries
Count Room Tech | P. Ray
Date Counted | 2020-01-04
Survey Type | Incoming
Level of Posting | none
Comments