## 2360-190602
| Survey No | INIS-010620-899 |  | Item Surveyed |  | Flange at Fume Hood Riser #718 in Penthouse
| Date | 2020-01-06 |  | Comments
| Survey Tech | R. Florence
| Count Room Tech | N/A |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | N/A |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model | 2221
| Level of Posting | None |  |  | Instrument SN | 152194
Notes |  |  | Total Activity |  | Cal. Due Date | 2020-11-08
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency
Tb = Background count time |  |  | Removable Activity |  | Background Counts | 5888
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb
Bcpm = Background cpm |  |  |  |  | Ts
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | Fume Hood #718 Flange |  |  |  |  | 12214
2 | Lab # 718 at Flange |  |  |  |  | 13567

## Map
Survey No | INIS-010620-899
Date | 2020-01-06
Survey Tech | R. Florence
Count Room Tech | N/A
Date Counted | N/A
Survey Type | Characterization
Level of Posting | None
Comments