## 2360-190602
| Survey No | INIS-010620-900 |  | Item Surveyed |  | 7th Floor North Wall Above Ceiling Tiles On Insulation and Ceiling Tiles
| Date | 2020-01-04 |  | Comments
| Survey Tech | R. Florence
| Count Room Tech | M. Pinion |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2020-01-06 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model |  |  |  | 2360/43-93 |  |  |  | 2929/43-10-1
| Level of Posting | RMA |  |  | Instrument SN |  |  |  | 164693/PR289403 |  |  |  | 143878/PR147628
Notes |  |  | Total Activity |  | Cal. Due Date |  |  |  | 2020-11-13 |  |  |  | 2020-11-08
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 23.08% |  | 35.69% |  | 37.87% |  | 42.14%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  |  |  | 0 |  | 307 |  | 12 |  | 2579
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1 |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1 |  | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1 |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | On insulation North wall above ceiling tiles | [7 empty] | 1 |  | 2283 |  | 0 |  | 44
2 | On insulation North wall above ceiling tiles | [7 empty] | 0 |  | 1157 |  | 0 |  | 52
3 | On ceiling tile at North wall | [7 empty] | 4 |  | 385 |  | 0 |  | 441
4 | On insulation at North wall | [7 empty] | 0 |  | 3622 |  | 0 |  | 84
5 | On ceiling tile at North wall | [7 empty] | 4 |  | 369 |  | 0 |  | 45
6 | On ceiling tile at North wall | [7 empty] | 2 |  | 1448 |  | 1 |  | 44
7 | On ceiling tile at North wall | [7 empty] | 3 |  | 714 |  | 0 |  | 49
8 | 7th floor Northeast corner North wall above ceiling tiles | [7 empty] | 0 |  | 331 |  | 0 |  | 44
9 | 7th floor Northeast corner North wall insulation | [7 empty] | 2 |  | 386 |  | 0 |  | 41
10 | 7th floor Northeast corner ceiling tile | [7 empty] | 0 |  | 263 |  | 0 |  | 44
11 | 7th floor Northeast corner insulation | [7 empty] | 2 |  | 381 |  | 0 |  | 44