## 2360-190602
| Survey No | INIS-010620-905 |  | Item Surveyed |  | Fan Room 970
| Date | 2020-01-04 |  | Comments |  | All accessible areas surveyed, including screens and louvers, pre- and post-decontamination. All readings (1-minute, static) are large area wipes pre- and post-decontamination. Screens and louvers in overhead, #1 to #3 on West Wall, and #4 and #5 on North Wall are not surveyed at this time.
| Survey Tech | D. Dodge
| Count Room Tech | N/A |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | N/A |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model |  |  |  | 2360/43-93
| Level of Posting | RCA |  |  | Instrument SN |  |  |  | 251035/PR293951
Notes |  |  | Total Activity |  | Cal. Due Date |  |  |  | 2020-12-18
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 19.92% |  | 33.75%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  |  |  | 0 |  | 192
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | Screen #1 Pre Decontamination LAW | [7 empty] | 0 |  | 329
2 | Screen #1 Post Decontamination LAW | [7 empty] | 3 |  | 188
3 | Screen #2 Pre Decontamination LAW | [7 empty] | 0 |  | 345
4 | Screen #2 Post Decontamination LAW | [7 empty] | 0 |  | 201
5 | Screen #3 Pre Decontamination LAW | [7 empty] | 0 |  | 329
6 | Screen #3 Post Decontamination LAW | [7 empty] | 0 |  | 209
7 | Screen #4 Pre Decontamination LAW | [7 empty] | 1 |  | 289
8 | Screen #4 Post Decontamination LAW | [7 empty] | 4 |  | 219
9 | Screen #5 Pre Decontamination LAW | [7 empty] | 2 |  | 235
10 | Screen #5 Post Decontamination LAW | [7 empty] | 2 |  | 220
11 | Louver #1 Pre Decontamination LAW | [7 empty] | 4 |  | 332
12 | Louver #1 Post Decontamination LAW | [7 empty] | 2 |  | 214
13 | Louver #2 Pre Decontamination LAW | [7 empty] | 2 |  | 642
14 | Louver #2 Post Decontamination LAW | [7 empty] | 2 |  | 274
15 | Louver #3 Pre Decontamination LAW | [7 empty] | 0 |  | 348
16 | Louver #3 Post Decontamination LAW | [7 empty] | 1 |  | 217
17 | Louver #4 Pre Decontamination LAW | [7 empty] | 1 |  | 526
18 | Louver #4 Post Decontamination LAW | [7 empty] | 3 |  | 239
19 | Louver #5 Pre Decontamination LAW | [7 empty] | 5 |  | 860
20 | Louver #5 Pre Decontamination LAW | [7 empty] | 1 |  | 259

## Map
Survey No | INIS-010620-905
Date | 2020-01-04
Survey Tech | D. Dodge
Count Room Tech | N/A
Date Counted | N/A
Survey Type | Characterization
Level of Posting | RCA
Comments

## Map (2)
Survey No | INIS-010620-905
Date | 2020-01-04
Survey Tech | D. Dodge
Count Room Tech | N/A
Date Counted | N/A
Survey Type | Characterization
Level of Posting | RCA
Comments

## Map (3)
Survey No | INIS-010620-905
Date | 2020-01-04
Survey Tech | D. Dodge
Count Room Tech | N/A
Date Counted | N/A
Survey Type | Characterization
Level of Posting | RCA
Comments