## 2360-190602
| Survey No | INIS-010620-910 |  | Item Surveyed |  | Vacuum ID #001380296012 Location: Fan Room #970
| Date | 2020-01-06 |  | Comments |  | Pullman-Holt vacuum surveyed post decontamination.
| Survey Tech | D. Dodge
| Count Room Tech | S. Baine |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2020-01-06 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model |  | 2350 | [5 empty] | 2929/43-10-1
| Level of Posting | RCA |  |  | Instrument SN |  | 260157 | [5 empty] | 190602/PR199159
Notes |  |  | Total Activity |  | Cal. Due Date |  | 9/19/20 | [5 empty] | 2020-06-05
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency | [7 empty] | 34.6% |  | 39.1%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  | 10 | [5 empty] | 0 |  | 2580
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF | [7 empty] | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb | [7 empty] | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts | [7 empty] | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | Hepa Exhaust | [5 empty] | 26 | [5 empty] | 0 |  | 39
2 | Hepa Exhaust | [5 empty] | 26 | [5 empty] | 0 |  | 55
3 | Side | [5 empty] | 260 | [5 empty] | 0 |  | 35
4 | Wheels | [5 empty] | 230 | [5 empty] | 1 |  | 37
5 | Hose | [5 empty] | 36 | [5 empty] | 0 |  | 45

## Map
Survey No | INIS-010620-910
Date | 2020-01-06
Survey Tech | D. Dodge
Count Room Tech | S. Baine
Date Counted | 2020-01-06
Survey Type | Characterization
Level of Posting | RCA
Comments