## 2360-190602
| Survey No | INIS-010320-883 |  | Item Surveyed |  | Top of Northeast Brick Wall Post Grind Location: Prax Air Compund
| Date | 2020-01-02 |  | Comments |  | Smears and one minute static readings taken post grind. Reference survey INIS-123119-867 for pre grind.
| Survey Tech | D. Dodge
| Count Room Tech | P. Ray |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2020-01-03 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model |  |  |  | 2360/43-93 |  |  |  | 2929/43-10-1
| Level of Posting | RCA/CA |  |  | Instrument SN |  |  |  | 248145/PR389059 |  |  |  | 143878/PR147628
Notes |  |  | Total Activity |  | Cal. Due Date |  |  |  | 2020-11-18 |  |  |  | 2020-11-08
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 21.96% |  | 35.72% |  | 37.87% |  | 42.14%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  |  |  | 0 |  | 261 |  | 18 |  | 2841
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1 |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1 |  | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1 |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | Top of Northeast brick wall, see pictures | [7 empty] | 13 |  | 313 |  | 0 |  | 45
2 | Top of Northeast brick wall, see pictures | [7 empty] | 6 |  | 340 |  | 0 |  | 46
3 | Top of Northeast brick wall, see pictures | [7 empty] | 6 |  | 332 |  | 0 |  | 43
4 | Top of Northeast brick wall, see pictures | [7 empty] | 5 |  | 320 |  | 1 |  | 31
5 | Top of Northeast brick wall, see pictures | [7 empty] | 0 |  | 339 |  | 0 |  | 34
6 | Top of Northeast brick wall, see pictures | [7 empty] | 4 |  | 333 |  | 1 |  | 71

## Map
Survey No | INIS-010320-883
Date | 2020-01-02
Survey Tech | D. Dodge
Count Room Tech | P. Ray
Date Counted | 2020-01-03
Survey Type | Characterization
Level of Posting | RCA/CA
Comments