## 2360-190602
| Survey No | INIS-103019-545 |  | Item Surveyed |  | Dance Floor Wooding Boards
| Date | 2019-10-28 |  | Comments
| Survey Tech | K. Whilte
| Count Room Tech | P. Ray |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2019-10-30 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model |  |  |  | 2360/43-93 |  |  |  | 2929/43-10-1
| Level of Posting | None |  |  | Instrument SN |  |  |  | 170573/PR295917 |  |  |  | 190602/PR199159
Notes |  |  | Total Activity |  | Cal. Due Date |  |  |  | 2020-10-18 |  |  |  | 2020-06-05
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 21.39% |  | 53% |  | 34.6% |  | 39.1%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  |  |  | 1 |  | 201 |  | 38 |  | 2649
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1 |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1 |  | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1 |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm |  | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | Wooding boards (dance floor) | [7 empty] | 0 |  | 184 |  | 0 |  | 42
2 | Wooding boards (dance floor) | [7 empty] | 1 |  | 174 |  | 0 |  | 50
3 | Wooding boards (dance floor) | [7 empty] | 0 |  | 172 |  | 1 |  | 34
4 | Wooding boards (dance floor) | [7 empty] | 3 |  | 199 |  | 0 |  | 45
5 | Wooding boards (dance floor) | [7 empty] | 2 |  | 185 |  | 2 |  | 62
6 | Wooding boards (dance floor) | [7 empty] | 3 |  | 200 |  | 2 |  | 36
7 | Wooding boards (dance floor) | [7 empty] | 0 |  | 237 |  | 0 |  | 34
8 | Wooding boards (dance floor) | [7 empty] | 1 |  | 179 |  | 2 |  | 38
9 | Wooding boards (dance floor) | [7 empty] | 2 |  | 172 |  | 0 |  | 30
10 | Wooding boards (dance floor) | [7 empty] | 1 |  | 182 |  | 0 |  | 42
11 | Wooding boards (dance floor) | [7 empty] | 0 |  | 177 |  | 2 |  | 45
12 | Wooding boards (dance floor) | [7 empty] | 3 |  | 138 |  | 2 |  | 44
13 | Wooding boards (dance floor) | [7 empty] | 1 |  | 140 |  | 1 |  | 47
14 | Wooding boards (dance floor) | [7 empty] | 1 |  | 195 |  | 1 |  | 36
15 | Wooding boards (dance floor) | [7 empty] | 2 |  | 176 |  | 0 |  | 44
16 | Wooding boards (dance floor) | [7 empty] | 2 |  | 171 |  | 2 |  | 43
17 | Wooding boards (dance floor) | [7 empty] | 3 |  | 189 |  | 1 |  | 43
18 | Wooding boards (dance floor) | [7 empty] | 1 |  | 165 |  | 2 |  | 37
19 | Wooding boards (dance floor) | [7 empty] | 2 |  | 183 |  | 0 |  | 37

## Map
Survey No | INIS-103019-545
Date | 2019-10-28
Survey Tech | K. Whilte
Count Room Tech | P. Ray
Date Counted | 2019-10-30
Survey Type | Characterization
Level of Posting | None
Comments