## 2360-190602
| Survey No | INIS-010220-878 |  | Item Surveyed |  | Levels 3-6 North Wall Above Ceiling Tile on Insulation and Ceiling Tiles
| Date | 2020-01-02 |  | Comments
| Survey Tech | R. Florence
| Count Room Tech | P. Ray |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2020-01-02 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model |  |  |  | 2360/43-93 |  |  |  | 2929/43-10-1
| Level of Posting | RCA |  |  | Instrument SN |  |  |  | 164693/PR289403 |  |  |  | 190602/PR199159
Notes |  |  | Total Activity |  | Cal. Due Date |  |  |  | 2020-11-13 |  |  |  | 2020-06-05
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 23.08% |  | 35.69% |  | 34.6% |  | 39.1%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  |  |  | 0 |  | 214 |  | 34 |  | 2402
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1 |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1 |  | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1 |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | 3rd floor on North wall above ceiling | [7 empty] | 2 |  | 884 |  | 0 |  | 57
2 | 3rd floor on North wall insulation | [7 empty] | 0 |  | 1652 |  | 1 |  | 61
3 | 3rd floor on North wall ceiling tiles | [7 empty] | 5 |  | 381 |  | 4 |  | 44
4 | 3rd floor on North wall wall | [11 empty] | 0 |  | 59
5 | 3rd floor on North wall insulation | [7 empty] | 1 |  | 1565 |  | 0 |  | 51
6 | 3rd floor on North wall ceiling tiles | [7 empty] | 0 |  | 401 |  | 0 |  | 43
7 | North wall Northwest corner insulation | [7 empty] | 0 |  | 232 |  | 1 |  | 35
8 | North wall Northwest corner ceiling tile | [7 empty] | 0 |  | 296 |  | 1 |  | 47
9 | 6th floor hall North wall insulation | [7 empty] | 0 |  | 207 |  | 1 |  | 42
10 | 6th floor hall North wall ceiling tile | [7 empty] | 3 |  | 368 |  | 0 |  | 41
11 | 6th floor North wall Northwest insulation | [7 empty] | 0 |  | 243 |  | 0 |  | 63
12 | 6th floor North wall Northwest ceiling tile | [7 empty] | 2 |  | 344 |  | 0 |  | 65
13 | 5th floor hall North wall insulation | [7 empty] | 0 |  | 280 |  | 0 |  | 33
14 | 5th floor hall North wall ceiling tile | [7 empty] | 0 |  | 416 |  | 1 |  | 40
15 | 5th floor North wall Northwest insulation | [7 empty] | 3 |  | 280 |  | 0 |  | 40
16 | 5th floor North wall Northwest ceiling tile | [7 empty] | 1 |  | 350 |  | 1 |  | 58
17 | 4th floor hall North wall insulation | [7 empty] | 0 |  | 232 |  | 0 |  | 59
18 | 4th floor hall North wall ceiling tile | [7 empty] | 0 |  | 384 |  | 0 |  | 41
19 | 4th floor hall North wall insulation | [7 empty] | 0 |  | 2286 |  | 0 |  | 158
20 | 4th floor hall North wall ceiling tile | [7 empty] | 1 |  | 601 |  | 1 |  | 64

## 2360-190602 (2)
| Survey No | INIS-010220-878 |  | Item Surveyed |  | Levels 3-6 North Wall Above Ceiling Tile on Insulation and Ceiling Tiles
| Date | 2020-01-02 |  | Comments
| Survey Tech | R. Florence
| Count Room Tech | P. Ray |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2020-01-02 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model |  |  |  | 2360/43-93 |  |  |  | 2929/43-10-1
| Level of Posting | RCA |  |  | Instrument SN |  |  |  | 164693/PR289403 |  |  |  | 190602/PR199159
Notes |  |  | Total Activity |  | Cal. Due Date |  |  |  | 2020-11-13 |  |  |  | 2020-06-05
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 23.08% |  | 35.69% |  | 34.6% |  | 39.1%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  |  |  | 0 |  | 214 |  | 34 |  | 2402
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1 |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1 |  | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1 |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
21 | 4th floor North wall Northwest corner insulation | [7 empty] | 0 |  | 264 |  | 0 |  | 35
22 | 4th floor North wall Northwest corner ceiling tile | [7 empty] | 1 |  | 384 |  | 1 |  | 39
23 | 4th floor North wall Northwest corner insulation | [7 empty] | 0 |  | 282 |  | 0 |  | 49
24 | 4th floor North wall Northwest corner ceiling tile | [7 empty] | 0 |  | 416 |  | 1 |  | 43
25 | 4th floor North wall Northwest corner insulation | [7 empty] | 0 |  | 291 |  | 0 |  | 45