## 2360-190602
| Survey No | INIS-111219-642 |  | Item Surveyed |  | Characterization survey above the man door Rm. 220 dock area
| Date | 2019-11-09 |  | Comments
| Survey Tech | T. Yardy
| Count Room Tech | P. Ray |  | Parameters |  | Gamma |  |  | Total Activity |  |  | Removable Activity
| Date Counted | 2019-11-12 |  |  |  | CPM | µR/hr | µRem/hr | Alpha | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model |  |  |  | 2360/43-93 |  |  | 2929/43-10-1
| Level of Posting | CA |  |  | Instrument SN |  |  |  | 259730/PR374384 |  |  | 190602/PR199159
Notes |  |  | Total Activity |  | Cal. Due Date |  |  |  | 2020-09-13 |  |  | 2020-06-05
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 20.54% | 35.78% |  | 34.6% |  | 39.1%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  |  |  | 1 | 1281 |  | 31 |  | 2498
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 | 1 |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 | 1 |  | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 | 1 |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr |  | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | Behind plastic Center | [7 empty] | 0 | 6380 |  | 0 |  | 227
2 | Behind plastic North | [7 empty] | 1 | 13579 |  | 0 |  | 770
3 | Hole in ceiling | [7 empty] | 0 | 10243 |  | 0 |  | 128
4 | Behind plastic South | [7 empty] | 1 | 12405 |  | 0 |  | 602

## Map
Survey No | INIS-111219-642
Date | 2019-11-09
Survey Tech | T. Yardy
Count Room Tech | P. Ray
Date Counted | 2019-11-12
Survey Type | Characterization
Level of Posting | CA
Comments