## 2360-190602
| Survey No | INIS-010320-891 |  | Item Surveyed |  | Room 220D and 220 Duct
| Date | 2020-01-03 |  | Comments
| Survey Tech | J. Walther
| Count Room Tech | P. Ray |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2020-01-03 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model |  | 19 |  | 2360/43-93 |  |  |  | 2929/43-10-1
| Level of Posting | CA |  |  | Instrument SN |  | 247422 |  | 234860/PR289402 |  |  |  | 190602/PR199159
Notes |  |  | Total Activity |  | Cal. Due Date |  | 10/23/20 |  | 2020-06-18 |  |  |  | 2020-06-05
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 20.93% |  | 33.78% |  | 34.6% |  | 39.1%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  | 16 |  | 1 |  | 725 |  | 33 |  | 2484
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1 |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1 |  | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1 |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | Room 220D north side ducts inside (EF-9) | [5 empty] | 20 |  | 2 |  | 878 |  | 0 |  | 41
2 | Room 220 West side duct inside (EF-8) | [5 empty] | 100 |  | 6 |  | 83484 |  | 0 |  | 4800
3 | Room 220D West side duct inside (EF-3) | [5 empty] | 20 |  | 1 |  | 17692 |  | 1 |  | 517

## Map
Survey No | INIS-010320-891
Date | 2020-01-03
Survey Tech | J. Walther
Count Room Tech | P. Ray
Date Counted | 2020-01-03
Survey Type | Characterization
Level of Posting | CA
Comments