## 2360-190602
| Survey No | INIS-010620-901 |  | Item Surveyed |  | EF-8 Vent in Communications Room and Janitor Room level 3-6 Ceiling Tiles Conduit in Overhead Spaces
| Date | 2020-01-04 |  | Comments
| Survey Tech | R. Florence
| Count Room Tech | M. Pinion |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2020-01-06 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model |  |  |  | 2360/43-93 |  |  |  | 2929/43-10-1
| Level of Posting | RCA |  |  | Instrument SN |  |  |  | 164693/PR289403 |  |  |  | 190602/PR199159
Notes |  |  | Total Activity |  | Cal. Due Date |  |  |  | 2020-11-13 |  |  |  | 2020-06-05
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 23.08% |  | 35.69% |  | 34.6% |  | 39.1%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  |  |  | 1 |  | 186 |  | 39 |  | 2467
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1 |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1 |  | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1 |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | Room 329 vent inside | [7 empty] | 0 |  | 176 |  | 1 |  | 50
2 | Room 329 vent outside | [7 empty] | 0 |  | 350 |  | 0 |  | 49
3 | outside room 329 vent | [7 empty] | 0 |  | 180 |  | 1 |  | 37
4 | Ceiling tile | [7 empty] | 2 |  | 442 |  | 0 |  | 43
5 | Outside room 329 vent inside | [7 empty] | 0 |  | 221 |  | 0 |  | 50
6 | Outside room 329 vent outside | [7 empty] | 0 |  | 183 |  | 1 |  | 58
7 | Hall outside room 331 overhead conduit | [11 empty] | 0 |  | 50
8 | Hall outside room 331 overhead ceiling tile | [7 empty] | 0 |  | 324 |  | 1 |  | 41
9 | Hall outside door to stairs conduit | [7 empty] | 0 |  | 293 |  | 1 |  | 46
10 | Hall outside door to stairs ceiling tiles | [7 empty] | 0 |  | 288 |  | 0 |  | 54
11 | Hall outside door 300D conduit Bkg 222 | [11 empty] | 0 |  | 35
12 | Hall outside door 300D ceiling tile | [7 empty] | 4 |  | 490 |  | 1 |  | 50
13 | Inside room 300D damper inside Bkg 422 | [7 empty] | 2 |  | 1775 |  | 1 |  | 116
14 | Inside room 300D damper outside | [7 empty] | 0 |  | 301 |  | 0 |  | 50
15 | Inide room 300D insulated duct | [7 empty] | 2 |  | 332 |  | 0 |  | 38
16 | Room 429 vent inside | [7 empty] | 0 |  | 229 |  | 0 |  | 51
17 | Room 429 vent outside | [7 empty] | 0 |  | 208 |  | 1 |  | 40
18 | Outside room 429 duct | [7 empty] | 0 |  | 192 |  | 1 |  | 43
19 | Outside room 429 ceiling tile | [7 empty] | 0 |  | 335 |  | 0 |  | 46
20 | Outside room 431 conduit in ceiling | [11 empty] | 0 |  | 41

## 2360-190602 (2)
| Survey No | INIS-010620-901 |  | Item Surveyed |  | EF-8 Vent in Communications Room and Janitor Room level 3-6 Ceiling Tiles Conduit in Overhead Spaces
| Date | 2020-01-04 |  | Comments
| Survey Tech | R. Florence
| Count Room Tech | M. Pinion |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2020-01-06 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model |  |  |  | 2360/43-93 |  |  |  | 2929/43-10-1
| Level of Posting | RCA |  |  | Instrument SN |  |  |  | 164693/PR289403 |  |  |  | 190602/PR199159
Notes |  |  | Total Activity |  | Cal. Due Date |  |  |  | 2020-11-13 |  |  |  | 2020-06-05
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 23.08% |  | 35.69% |  | 34.6% |  | 39.1%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  |  |  | 1 |  | 186 |  | 39 |  | 2467
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1 |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1 |  | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1 |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
21 | Outside room 431 overhead ceiling tile | [7 empty] | 0 |  | 360 |  | 1 |  | 46
22 | Hall outside room 431 overhead conduit | [11 empty] | 0 |  | 39
23 | Hall outside room 431 overhead ceiling tile | [7 empty] | 0 |  | 436 |  | 0 |  | 63
24 | Hall outside room 431 overhead ceiling tile | [7 empty] | 0 |  | 632 |  | 1 |  | 36
25 | Outside room 400D overhead conduit | [11 empty] | 1 |  | 71

## 2360-190602 (3)
| Survey No | INIS-010620-901 |  | Item Surveyed |  | EF-8 Vent in Communications Room and Janitor Room level 3-6 Ceiling Tiles Conduit in Overhead Spaces
| Date | 2020-01-04 |  | Comments
| Survey Tech | R. Florence
| Count Room Tech | M. Pinion |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2020-01-06 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model |  |  |  | 2360/43-93 |  |  |  | 2929/43-10-1
| Level of Posting | RCA |  |  | Instrument SN |  |  |  | 164693/PR289403 |  |  |  | 190602/PR199159
Notes |  |  | Total Activity |  | Cal. Due Date |  |  |  | 2020-11-13 |  |  |  | 2020-06-05
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 23.08% |  | 35.69% |  | 34.6% |  | 39.1%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  |  |  | 1 |  | 206 |  | 39 |  | 2467
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1 |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1 |  | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1 |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
26 | Outside room 400D ouverhead ceiling tile | [7 empty] | 2 |  | 718 |  | 1 |  | 51
27 | Outside room 400D ouverhead ceiling tile | [11 empty] | 2 |  | 45
28 | 408D damper inside | [7 empty] | 0 |  | 776 |  | 1 |  | 869
29 | 408D damper outside | [11 empty] | 0 |  | 47
30 | 408D damper conduit/duct | [11 empty] | 0 |  | 51
31 | Room 629A vent inside | [7 empty] | 1 |  | 288 |  | 1 |  | 52
32 | Room 629A vent outside | [7 empty] | 0 |  | 256 |  | 0 |  | 68
33 | Outside room 629 vent inside | [7 empty] | 1 |  | 245 |  | 0 |  | 57
34 | Outside room 629 vent outside | [7 empty] | 0 |  | 230 |  | 0 |  | 42
35 | Ceiling tile | [7 empty] | 2 |  | 411 |  | 0 |  | 36
36 | Hall outside 631 ceiling conduit | [11 empty] | 0 |  | 35
37 | Hall outside 631 ceiling ceiling tile | [7 empty] | 0 |  | 360 |  | 2 |  | 46
38 | Hall outside 631 ceiling conduit | [11 empty] | 0 |  | 44
39 | Hall outside 631 ceiling ceiling tile | [7 empty] | 2 |  | 235 |  | 0 |  | 63
40 | Hall outside 600D overhead conduit | [11 empty] | 0 |  | 49
41 | Hall outside room 600D overhead ceiling tile | [7 empty] | 0 |  | 348 |  | 2 |  | 61
42 | Inside room 600D EF-8 damper inside | [7 empty] | 1 |  | 1308 |  | 0 |  | 71

## 2360-190602 (4)
| Survey No | INIS-010620-901 |  | Item Surveyed |  | EF-8 Vent in Communications Room and Janitor Room level 3-6 Ceiling Tiles Conduit in Overhead Spaces
| Date | 2020-01-04 |  | Comments
| Survey Tech | R. Florence
| Count Room Tech | M. Pinion |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2020-01-06 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model |  |  |  | 2360/43-93 |  |  |  | 2929/43-10-1
| Level of Posting | RCA |  |  | Instrument SN |  |  |  | 164693/PR289403 |  |  |  | 190602/PR199159
Notes |  |  | Total Activity |  | Cal. Due Date |  |  |  | 2020-11-13 |  |  |  | 2020-06-05
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 23.08% |  | 35.69% |  | 34.6% |  | 39.1%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  |  |  | 0 |  | 268 |  | 39 |  | 2467
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1 |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1 |  | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1 |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
43 | Inside room 600D EF-8 damper outside | [11 empty] | 0 |  | 47
44 | Duct in overhead room 600D | [11 empty] | 0 |  | 31
45 | 529A inside vent | [7 empty] | 0 |  | 192 |  | 0 |  | 60
46 | 529A outside vent | [7 empty] | 1 |  | 223 |  | 1 |  | 50
47 | Outside room 529A inside vent | [7 empty] | 1 |  | 224 |  | 0 |  | 47
48 | Outside room 529A outside vent | [7 empty] | 0 |  | 275 |  | 3 |  | 50
49 | Outside room 529A ceiling tile | [7 empty] | 4 |  | 2800 |  | 1 |  | 100
50 | Outside room 529A conduit | [11 empty] | 2 |  | 39
51 | Outside room 529A ceiling tile | [7 empty] | 1 |  | 340 |  | 2 |  | 51
52 | Hall outside 500D in overhead conduit | [11 empty] | 1 |  | 49
53 | Hall outside 500D in overhead ceiling tile | [7 empty] | 0 |  | 337 |  | 1 |  | 42
54 | Room 500D inside damper | [7 empty] | 0 |  | 909 |  | 2 |  | 32
55 | Room 500D outside damper | [11 empty] | 1 |  | 64
56 | Supply duct | [7 empty] | 1 |  | 1 |  | 0 |  | 43