## 2360-190602
| Survey No | INIS-010620-904 |  | Item Surveyed |  | Biohood 63856 Room 720D
| Date | 2020-01-06 |  | Comments
| Survey Tech | K. White/E. Carter/S. Persky
| Count Room Tech | m. Pinion |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2020-01-06 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model | 2221 |  |  | 2360/43-93 |  |  |  | 2929/43-10-1
| Level of Posting | None |  |  | Instrument SN | 187763 |  |  | 184905/PR289400 |  |  |  | 143878/PR147628
Notes |  |  | Total Activity |  | Cal. Due Date | 2020-11-08 |  |  | 2020-09-12 |  |  |  | 2020-11-08
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 22.19% |  | 31.83% |  | 37.87% |  | 42.14%
Tb = Background count time |  |  | Removable Activity |  | Background Counts | 5554 |  |  | 0 |  | 173 |  | 12 |  | 2579
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1 |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1 |  | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1 |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | Exhaust top |  |  |  |  | 5109 |  |  | 2 |  | 186 |  | 0 |  | 38
2 | Exhaust bottom |  |  |  |  | 4544 |  |  | 1 |  | 178 |  | 0 |  | 36
3 | Motor blower |  |  |  |  | 5648 |  |  | 0 |  | 477 |  | 2 |  | 42
4 | Motor intake |  |  |  |  | 5139 |  |  | 0 |  | 193 |  | 0 |  | 32
5 | Back wall inside |  |  |  |  | 4586 |  |  | 0 |  | 149 |  | 0 |  | 41
6 | Right wall inside |  |  |  |  | 4334 |  |  | 1 |  | 180 |  | 0 |  | 63
7 | Left wall inside |  |  |  |  | 4622 |  |  | 0 |  | 157 |  | 0 |  | 40
8 | Left floor inside |  |  |  |  | 4514 |  |  | 1 |  | 185 |  | 0 |  | 20
9 | Right floor inside |  |  |  |  | 5077 |  |  | 0 |  | 221 |  | 2 |  | 33
10 | Door interior |  |  |  |  | 4681 |  |  | 0 |  | 166 |  | 0 |  | 44

## Map
Survey No | INIS-010620-904
Date | 2020-01-06
Survey Tech | K. White/E. Carter/S. Persky
Count Room Tech | M. Pinion
Date Counted | 2020-01-06
Survey Type | Characterization
Level of Posting | None
Comments

## Map (2)
Survey No | INIS-010620-904
Date | 2020-01-06
Survey Tech | K. White/E. Carter/S. Persky
Count Room Tech | M. Pinion
Date Counted | 2020-01-06
Survey Type | Characterization
Level of Posting | None
Comments