## 2360-190602
| Survey No | INIS-010620-907 Rev.1 |  | Item Surveyed |  | Penthouse Fume Hood Risers at and above Flanges
| Date | 2020-01-06 |  | Comments
| Survey Tech | R. Florence
| Count Room Tech | N/A |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | N/A |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model | 2221
| Level of Posting | None |  |  | Instrument SN | 190165
Notes |  |  | Total Activity |  | Cal. Due Date | 2020-11-08
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency
Tb = Background count time |  |  | Removable Activity |  | Background Counts | 6823
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb
Bcpm = Background cpm |  |  |  |  | Ts
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | Fume hood #326 on Flange, BKG = 6823 |  |  |  |  | 8423
2 | Fume hood #326 above Flange |  |  |  |  | 5868
3 | Fume hood #418 on Flange, BKG = 5834 |  |  |  |  | 5995
4 | Fume hood #726 on Flange, BKG = 6880 |  |  |  |  | 12091
5 | Fume hood #626 on Flange, BKG = 6345 |  |  |  |  | 8663
6 | Fume hood #526 on Flange, BKG = 6594 |  |  |  |  | 7775
7 | Fume hood #526 above Flange |  |  |  |  | 5486
8 | Fume hood #626 above Flange |  |  |  |  | 5690
9 | Fume hood #726 above Flange |  |  |  |  | 6168
10 | Fume hood #618 on Flange, BKG = 5667 |  |  |  |  | 5616
11 | Fume hood #618 above Flange |  |  |  |  | 5103
12 | Fume hood #718 on Flange, BKG = 6163 |  |  |  |  | 13247
13 | Fume hood #718 above Flange |  |  |  |  | 5791
14 | Fume hood 426 on Flange, BKG = 7030 |  |  |  |  | 8580
15 | Fume hood 426 above Flange |  |  |  |  | 6455
16 | Fume hood #518 on Flange, BKG = 5377 |  |  |  |  | 6444
17 | Fume hood #518 above Flange |  |  |  |  | 5280

## Map
Survey No | INIS-010620-907 Rev.1
Date | 2020-01-06
Survey Tech | R. Florence
Count Room Tech | N/A
Date Counted | N/A
Survey Type | Characterization
Level of Posting | None
Comments

## Map (2)
Survey No | INIS-010620-907 Rev.1
Date | 2020-01-06
Survey Tech | R. Florence
Count Room Tech | N/A
Date Counted | N/A
Survey Type | Characterization
Level of Posting | None
Comments