## 2360-190602
| Survey No | INIS-010620-909 |  | Item Surveyed |  | Fan Room 970, Pre and Post Decontamination
| Date | 2020-01-06 |  | Comments |  | One-minute static readings taken on LAWs.
| Survey Tech | D. Dodge
| Count Room Tech | N/A |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | N/A |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model |  |  |  | 2360/43-93
| Level of Posting | RCA |  |  | Instrument SN |  |  |  | 251035/PR293951
Notes |  |  | Total Activity |  | Cal. Due Date |  |  |  | 2020-12-18
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 19.92% |  | 33.75%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  |  |  | 0 |  | 192
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | Floor under EP-2 fan pre-decontamination | [7 empty] | 1 |  | 486
2 | Floor under EP-2 fan postdecontamination | [7 empty] | 0 |  | 262
3 | North Wall horizontal surfaces pre-decontamination | [7 empty] | 2 |  | 647
4 | North Wall horizontal surfaces post-decontamination | [7 empty] | 2 |  | 261
5 | North Wall pre-decontamination | [7 empty] | 2 |  | 539
6 | North Wall post-decontamination | [7 empty] | 1 |  | 241
7 | Duct work plenum external surfaces pre-decontamination | [7 empty] | 0 |  | 507
8 | Duct work plenum external surfaces post-decontamination | [7 empty] | 0 |  | 242
9 | West Wall horizontal surfaces pre-decontamination | [7 empty] | 0 |  | 607
10 | West Wall horizontal surfaces post-decontamination | [7 empty] | 0 |  | 257
11 | West Wall pre-decontamination | [7 empty] | 1 |  | 499
12 | West Wall post-decontamination | [7 empty] | 2 |  | 277
13 | Overhead conduit and horizontal surfaces pre-decontamination | [7 empty] | 2 |  | 639
14 | Overhead conduit and horizontal surfaces post-decontamination | [7 empty] | 2 |  | 261
15 | EP-2 fan intake screen pre-decontamination | [7 empty] | 3 |  | 562
16 | EP-2 fan intake screen post-decontamination | [7 empty] | 0 |  | 201
17 | EP-2 fan internal accessible surfaces pre-decontamination | [7 empty] | 4 |  | 3018
18 | EP-2 fan internal accessible surfaces post-decontamination | [7 empty] | 3 |  | 221
19 | South Wall pre-decontamination | [7 empty] | 2 |  | 387
20 | South Wall post-decontamination | [7 empty] | 0 |  | 243

## 2360-190602 (2)
| Survey No | INIS-010620-909 |  | Item Surveyed |  | Fan Room 970, Pre and Post Decontamination.
| Date | 2020-01-06 |  | Comments |  | One-minute static readings taken on LAWs.
| Survey Tech | D. Dodge
| Count Room Tech | N/A |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | N/A |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Characterization |  |  | Instrument Model |  |  |  | 2360/43-93
| Level of Posting | RCA |  |  | Instrument SN |  |  |  | 251035/PR293951
Notes |  |  | Total Activity |  | Cal. Due Date |  |  |  | 2020-12-18
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 19.92% |  | 33.75%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  |  |  | 0 |  | 192
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
21 | East Wall pre-decontamination | [7 empty] | 0 |  | 262
22 | East Wall post-decontamination | [7 empty] | 0 |  | 240
23 | Ceiling pre-decontamination | [7 empty] | 0 |  | 272
24 | Ceiling post-decontamination | [7 empty] | 0 |  | 267
25 | EP-2 fan inaccessible surfaces behind blade | [7 empty] | 1 |  | 3039
26 | Inside fire damper, taken with massalinn mop | [7 empty] | 2 |  | 730
27 | Top of fan pre-decontamination | [7 empty] | 2 |  | 379
28 | Top of fan post-decontamination | [7 empty] | 1 |  | 216

## Map
Survey No | INIS-010620-909
Date | 2020-01-06
Survey Tech | D. Dodge
Count Room Tech | N/A
Date Counted | N/A
Survey Type | Characterization
Level of Posting | RCA
Comments

## Map (2)
Survey No | INIS-010620-909
Date | 2020-01-06
Survey Tech | D. Dodge
Count Room Tech | N/A
Date Counted | N/A
Survey Type | Characterization
Level of Posting | RCA
Comments

## Map (3)
Survey No | INIS-010620-909
Date | 2020-01-06
Survey Tech | D. Dodge
Count Room Tech | N/A
Date Counted | N/A
Survey Type | Characterization
Level of Posting | RCA
Comments

## Map (4)
Survey No | INIS-010620-909
Date | 2020-01-06
Survey Tech | D. Dodge
Count Room Tech | N/A
Date Counted | N/A
Survey Type | Characterization
Level of Posting | RCA
Comments