## 2360-190602
| Survey No | INIS-010220-877 |  | Item Surveyed |  | JLG Manlift SN 10237338
| Date | 2020-01-02 |  | Comments
| Survey Tech | M. Pries
| Count Room Tech | P. Ray |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2020-01-02 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Incoming |  |  | Instrument Model |  |  |  | 2360/43-93 |  |  |  | 2929/43-10-1
| Level of Posting | RCA |  |  | Instrument SN |  |  |  | 227443/PR238100 |  |  |  | 190602/PR199159
Notes |  |  | Total Activity |  | Cal. Due Date |  |  |  | 2020-11-11 |  |  |  | 2020-06-05
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 19.14% |  | 27.76% |  | 34.6% |  | 39.1%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  |  |  | 1 |  | 271 |  | 34 |  | 2402
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1 |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1 |  | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1 |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | Left front tire | [7 empty] | 3 |  | 223 |  | 1 |  | 51
2 | Right front tire | [7 empty] | 4 |  | 193 |  | 0 |  | 40
3 | Right rear tire | [7 empty] | 4 |  | 168 |  | 1 |  | 40
4 | Left rear tire | [7 empty] | 7 |  | 208 |  | 2 |  | 55
5 | Outside control panel | [7 empty] | 4 |  | 233 |  | 0 |  | 40
6 | Basket floor | [7 empty] | 4 |  | 251 |  | 0 |  | 41
7 | Basket floor | [7 empty] | 8 |  | 262 |  | 0 |  | 44
8 | Basket control panel | [7 empty] | 5 |  | 244 |  | 2 |  | 50

## test
| Survey No | INIS-010220-877 |  | Item Surveyed |  | JLG Manlift SN 10237338
| Date | 2020-01-02 |  | Comments
| Survey Tech | M. Pries
| Count Room Tech | P. Ray |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2020-01-02 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Incoming |  |  | Instrument Model |  |  |  | 2360/43-93 |  |  |  | 2929/43-10-1
| Level of Posting | RCA |  |  | Instrument SN |  |  |  | 227443/PR238100 |  |  |  | 190602/PR199159
Notes |  |  | Total Activity |  | Cal. Due Date |  |  |  | 2020-11-11 |  |  |  | 2020-06-05
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency |  |  |  | 19.14% |  | 27.76% |  | 34.6% |  | 39.1%
Tb = Background count time |  |  | Removable Activity |  | Background Counts |  |  |  | 1 |  | 271 |  | 34 |  | 2402
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF |  |  |  | 1 |  | 1 |  | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb |  |  |  | 1 |  | 1 |  | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts |  |  |  | 1 |  | 1 |  | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | Left front tire | [7 empty] | 3 |  | 223 |  | 1 |  | 51
2 | Right front tire | [7 empty] | 4 |  | 193 |  | 0 |  | 40
3 | Right rear tire | [7 empty] | 4 |  | 168 |  | 1 |  | 40
4 | Left rear tire | [7 empty] | 7 |  | 208 |  | 2 |  | 55
5 | Outside control panel | [7 empty] | 4 |  | 233 |  | 0 |  | 40
6 | Basket floor | [7 empty] | 4 |  | 251 |  | 0 |  | 41
7 | Basket floor | [7 empty] | 8 |  | 262 |  | 0 |  | 44
8 | Basket control panel | [7 empty] | 5 |  | 244 |  | 2 |  | 50