## 2360-190602
| Survey No | INIS-102819-523 |  | Item Surveyed |  | Hepa vacuum SN: 001380043004
| Date | 2019-10-26 |  | Comments
| Survey Tech | J.Cuevas
| Count Room Tech | P. Ray |  | Parameters |  | Gamma |  |  | Total Activity |  |  |  | Removable Activity
| Date Counted | 2019-10-28 |  |  |  | CPM | µR/hr | µRem/hr | Alpha |  | Beta-Gamma |  | Alpha |  | Beta-Gamma
| Survey Type | Daily |  |  | Instrument Model | [7 empty] | 2929/43-10-1
| Level of Posting | RMA |  |  | Instrument SN | [7 empty] | 143878/PR147628
Notes |  |  | Total Activity |  | Cal. Due Date | [7 empty] | 2020-06-12
PCF = Probe Correction Factor |  |  | dpm = (cpm - Bcpm)/(eff * PCF) |  | Efficiency | [7 empty] | 37.37% |  | 39.35%
Tb = Background count time |  |  | Removable Activity |  | Background Counts | [7 empty] | 7 |  | 2632
Ts = Sample count time |  |  | dpm = (cpm - Bcpm)/ eff |  | PCF | [7 empty] | 1 |  | 1
Rb = Background count rate |  |  | *dpm results are per 100cm2 |  | Tb | [7 empty] | 60 |  | 60
Bcpm = Background cpm |  |  |  |  | Ts | [7 empty] | 1 |  | 1
MDCR = Minimum Detectable Count Rate (net cpm) |  |  |  | MDCR
MDC = Minimum Detectable Concentration (dpm per 100cm2) |  |  |  | MDC
No. | Descriptions |  |  |  |  | cpm | µR/hr | µRem/hr | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm | gross counts | *dpm
1 | Hepa vent | [11 empty] | 0 |  | 48
2 | Hepa unit | [11 empty] | 0 |  | 32
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
Reviewed by:______________________ Date:_______________

## Map
Survey No | INIS-102819-523
Date | 2019-10-26
Survey Tech | J.Cuevas
Count Room Tech | P. Ray
Date Counted | 2019-10-28
Survey Type | Daily
Level of Posting | RMA
Comments